## Slide 1
To detect anomalies in multivariate time series .
AIM
OBJECTIVES
METHODOLOGY
Angle between subspaces :
EXPLORATORY DATA ANALYSIS (EDA)
PCA between matrices:
We consider the 30 min observation for anomaly detection , which gives us a 6*6 matrix for each 30 min time stamp. The PCA is measured between two 6*6 matrices, and the components defining maximum variance are considered.
RESULTS
Anomalies across features
CONCLUSION
The ratio of anomalies to non-anomalies may or may not vary with the change in duration consideration.
Timestamps under which the powerplant works perfectly five plotted across six features.
Convert multivariate to univariate time series using dimensionality reduction techniques.
Detect anomalies in the data throughout all the features.
DATA
The data consists of 6 features and a large number of sensor data , where each time stamp corresponds to 5 minutes.
The data considered has only continuous columns.
continuous_cols
Cyclone_ Inlet _Gas _Temp
Cyclone_Material_Temp
Cyclone_Outlet_Gas_Temp
Cyclone_cone_draft
Cyclone_Gas_Outlet_Temp
Cyclone_Inlet_Draft
Under the guidance of Prof. Sudarshan N Acharya
Keerthana K M, Sai Disha D, Sowbhagya V Kini
Anomaly Detection In Time Series
Finding missing values
Linear Interpolation
Standardization
PCA
Data Cleaning
Dimensionality Reduction
where,
- Angle between subspaces
- Minimum most eigen value